## Assay_MetaData
# Assay_ID | Technology_Type | Assay_Name | Assay_Manufacturer | EUA_Status | Assay_Multiplicity | Developer/Substrate | Developer/Substrate Manufacturer | Platform | Platform Manufacturer | Analysis Method | Analysis Software | Assay_Target_Organism
14_010 | ELISA | Kantaro SeroKlir Semi-Quant Assay | Kantaro | Approved | Singleplex | TBM | Biotechne | Biotek ELISA washer and reader | Biotek | 4 PL / Semi-Quantitative | Gen 5 software from Biotek | SARS-CoV-2 Virus
14_020 | CMIA | Abbott Alinity IgM | Abbot | Approved | Singleplex | acridinium-labeled conjugate | Abbott | Abbott Alinity I Imunoassay instrument | Abbott | Qualitative |  | SARS-CoV-2 Virus
14_030 | CMIA | Abbott Alinity IgG | Abbot | Approved | Singleplex | acridinium-labeled conjugate | Abbott | Abbott Alinity I Imunoassay instrument | Abbott | Qualitative |  | SARS-CoV-2 Virus
14_100 | CMIA | Abbott Alinity IgG | Abbot | Approved | Singleplex | acridinium-labeled conjugate | Abbott | Abbott Alinity I Imunoassay instrument | Abbott | Qualitative |  | SARS-CoV-2 Virus
14_110 | ELISA | COVID-19 ANTIBODY ASSAY | In-House | Approved | Singleplex | OPD | Sigma-Aldrich | Biotek ELISA washer and reader | Biotek | 4 PL / Semi-Quantitative | Gen 5 software from Biotek | SARS-CoV-2 Virus
27_502 | ELISA | UMN Spike IgG assay | University of Minnesota | Submitted | Singleplex | TMB |  | Absorbance reader |  |  |  | SARS-CoV-2 Virus
32_047 | Chemiluminescent | ACCESS SARS-CoV-2 Spike IgM | Beckman | Approved | Singleplex | chemiluminescent substrate |  | luminometer |  |  |  | SARS-CoV-2 Virus
32_049 | Chemiluminescent | ACCESS SARS-CoV-2 Spike IgGII | Beckman | Approved | Singleplex | chemiluminescent substrate |  | luminometer |  |  |  | SARS-CoV-2 Virus
41_481 | CLIA | RESEARCH COVID IGG XL | Diasorin | Approved | Singleplex | Diasorin | Diasorin | LIAISON XL | Diasorin | Multiplex RT-PCR | Diasorin | SARS-CoV-2 Virus
41_483 | CLIA | RESEARCH COVID IGM XL | Diasorin | Approved | Singleplex | Diasorin | Diasorin | LIAISON XL | Diasorin | Multiplex RT-PCR | Diasorin | SARS-CoV-2 Virus
41_487 | electrochemiluminescence immunoassay (ECLIA) | COVID-19 Nucleocapsid Antibody (Elecsys Anti-SARS-CoV-2) | Roche Diagnostics | Approved | Singleplex | Roche Diagnostics | Roche Diagnostics | cobas e 801 | Roche Diagnostics | Sandwich principle | Instument Manager by Data Innovations | SARS-CoV-2 Virus
41_488 | electrochemiluminescence immunoassay (ECLIA) | COVID-19 Spike Domain Antibody (Elecsys Anti-SARS-CoV-2 S) | Roche Diagnostics | Approved | Singleplex | Roche Diagnostics | Roche Diagnostics | cobas e 801 | Roche Diagnostics | Double-antigen sandwich principle | Instument Manager by Data Innovations | SARS-CoV-2 Virus
41_491 | CLIA | RESEARCH COVID IGG XL | Diasorin | Approved | Singleplex | Diasorin | Diasorin | LIAISON XL | Diasorin | indirect chemiluminescence immunoassay | Diasorin | SARS-CoV-2 Virus

## Assay_Target_Data
# Assay_ID | Assay_Target_Organism | Assay_Target | Assay_Target_Sub_Region | Measurand_Antibody_Type | Assay_Result_Type | Assay_Result_Unit | Positive_Cut_Off_Threshold | Negative_Cut_Off_Ceiling | Cut_Off_Unit | Low_Positive_Lower_Limit | Low_Positive_Upper_Limit | Medium_Positive_Lower_Limit | Medium_Positive_Upper_Limit | High_Positive_Lower_Limit | High_Positive_Upper_Limit | Assay_Antigen_Source | Assay Antigen Method Of Production | Plasmid Description
14_010 | SARS-CoV-2 Virus | Full Length Spike |  | IgG | Semi-Quantitative | Negative, Weak Positive, Moderate Positive, Strong Positive | ≥ 5 | < 5 | Arbitrary Units/mL (AU/mL) | [6 empty] | Biotechne
14_010 | SARS-CoV-2 Virus | Spike | RBD | IgG | Qualitative | Negative, Positive | ≥0.7 Cut-off index |  | Cut-off Index | [6 empty] | Biotechne
14_020 | SARS-CoV-2 Virus | Spike |  | IgM | Qualitative | Positive/Negative | ≥1 | <1 | S/CO | [6 empty] | Abbott
14_030 | SARS-CoV-2 Virus | Nucleocapsid |  | IgG | Qualitative | Positive/Negative | ≥1.40 | <1.40 | S/CO | [6 empty] | Abbott
14_100 | SARS-CoV-2 Virus | Spike | RBD | IgG | Qualitative | Positive/Negative | > 50 | <50 | Arbitrary Units/mL (AU/mL) | [6 empty] | Abbott
14_110 | SARS-CoV-2 Virus | Full Length Spike |  | IgG | Semi-Quantitative | Positive/Negative | ≥ 80 | < 80 | Titer
14_110 | SARS-CoV-2 Virus | Spike | RBD | IgG | Qualitative |  | > 0.1 | < 0.1 | OD490
27_502 | SARS-CoV-2 Virus | Spike | RBD | IgG | Semi-Quantitative | dilution factor | >=200 | <=100 | dilution factor | [6 empty] | University of Minnesota | Mammalian cells (HEK293) | Residues 319 - 529
27_502 | SARS-CoV-2 Virus | spike protein | RBD | IgG | Semi-Quantitative | dilution factor | >=200 | <=100 | dilution factor | [6 empty] | University of Minnesota | Mammalian cells (HEK293) | Residues 319 - 529
32_047 | SARS-CoV-2 Virus | Spike | RBD | IgM | Qualitative | Index | ³ 1 | < 1 | Signal/Cut-off ratio
32_049 | SARS-CoV-2 Virus | Spike | RBD | IgG | Semi-Quantitative | Index | Varies Lot to Lot | Varies Lot to Lot | AU/mL
41_481 | SARS-CoV-2 Virus | Spike | S1/S2 | IgG | Numeric | AU/ml | 150 | 14.99 | AU/ml | [6 empty] | Diasorin
41_483 | SARS-CoV-2 Virus | Spike | SD | IgM | Numeric | Index | 1.1 | 19 | Index | [6 empty] | Diasorin
41_487 | SARS-CoV-2 Virus | Nucleocapsid (N) antigen | Nucleocapsid (N) antigen | Total antibodies | Numeric | Cutoff index (COI) | ≥1 | <1 | Cutoff index (COI) | [6 empty] | Roche Diagnostics (Elecsys Anti-SARS-CoV-2)
41_488 | SARS-CoV-2 Virus | Spike | RBD | Total antibodies | Numeric | U/mL | ≥0.8 | <0.8 | U/mL | [6 empty] | Roche Diagnostics (Elecsys Anti-SARS-CoV-2 S)
41_491 | SARS-CoV-2 Virus | Full Length Spike |  | IgG | Numeric | AU/ml | ≥ 13 | < 13 | AU/ml | [6 empty] | Diasorin

## Assay_Qc
Assay_ID | Quality_Control_Name | Quality_Control_Source | Quality_Control | Quality_Control_Type
14_010 | CR3022 - Spike Protein | External | Analytical | Positive Control
14_010 | CR3022 - Spike Protein | External | Analytical | Negative Control
14_010 | monoclonal Ab High QC | External | Analytical | Other
14_010 | monoclonal Ab Low QC | External | Analytical | Other
14_010 | monoclonal Ab Med QC | External | Analytical | Other
14_020 | Control - | External | Analytical | Negative Control
14_020 | Control + | External | Analytical | Positive Control
14_030 | Control - | External | Analytical | Negative Control
14_030 | Control + | External | Analytical | Positive Control
14_100 | Control - | External | Analytical | Negative Control
14_100 | Control + | External | Analytical | Positive Control
14_110 | Control - | External | Analytical | Negative Control
14_110 | Control + | External | Analytical | Positive Control
14_110 | monoclonal Ab High QC | External | Analytical | Other
14_110 | monoclonal Ab Low QC | External | Analytical | Other
14_110 | monoclonal Ab Med QC | External | Analytical | Other
27_502 | CR3022 IgG | Internal | Analytical | Positive Control
27_502 | Pooled pre-pandemic serum | Internal | Analytical | Negative Control
32_047 | Calibrator | Internal | No Data Provided | Negative Control
32_047 | Quality Control | Internal | No Data Provided | Positive Control
32_049 | Calibrator | Internal | No Data Provided | Positive Control
32_049 | Quality Control | Internal | No Data Provided | Negative Control
41_481 | LIA CoV2-G NEG | External | Analytical | Negative Control
41_481 | LIA CoV2-G POS | External | Analytical | Positive Control
41_483 | LIA CoV2-M NEG | External | Analytical | Negative Control
41_483 | LIA CoV2-M POS | External | Analytical | Positive Control
41_487 | Technopath Multichem ID-COVID19 G | External (Technopath) | Analytical | Positive Control
41_487 | Technopath Multichem ID-COVID19 Neg | External (Technopath) | Analytical | Negative Control
41_488 | Technopath Multichem ID-COVID19 G | External (Technopath) | Analytical | Positive Control
41_488 | Technopath Multichem ID-COVID19 Neg | External (Technopath) | Analytical | Negative Control
41_491 | LIA CoV2-G NEG | External | Analytical | Negative Control
41_491 | LIA CoV2-G POS | External | Analytical | Positive Control